## entities_overview.csv
entity_id | original_name | unique_id | friendly_name | modbus_register
sensor.eu08l_ambient_error_number | EU08L Ambient Error Number | ambient_error_number | EU08L Ambient Error Number | 0
sensor.eu08l_ambient_operating_state | EU08L Ambient Operating State | ambient_operating_state | EU08L Ambient Operating State | 1
sensor.eu08l_ambient_temperature | EU08L Ambient Temperature | ambient_temperature | EU08L Ambient Temperature | 2
sensor.eu08l_ambient_temperature_1h | EU08L Ambient Temperature 1h | ambient_temperature_1h | EU08L Ambient Temperature 1h | 3
sensor.eu08l_ambient_temperature_calculated | EU08L Ambient Temperature Calculated | ambient_temperature_calculated | EU08L Ambient Temperature Calculated | 4
sensor.eu08l_hp1_error_state | EU08L HP1 Error State | hp1_error_state | EU08L HP1 Error State | 1000
sensor.eu08l_hp1_error_number | EU08L HP1 Error Number | hp1_error_number | EU08L HP1 Error Number | 1001
sensor.eu08l_hp1_state | EU08L HP1 State | hp1_state | EU08L HP1 State | 1002
sensor.eu08l_hp1_operating_state | EU08L HP1 Operating State | hp1_operating_state | EU08L HP1 Operating State | 1003
sensor.eu08l_hp1_flow_line_temperature | EU08L HP1 Flow Line Temperature | hp1_flow_line_temperature | EU08L HP1 Flow Line Temperature | 1004
sensor.eu08l_hp1_return_line_temperature | EU08L HP1 Return Line Temperature | hp1_return_line_temperature | EU08L HP1 Return Line Temperature | 1005
sensor.eu08l_hp1_volume_flow_heat_sink | EU08L HP1 Volume Flow Heat Sink | hp1_volume_flow_heat_sink | EU08L HP1 Volume Flow Heat Sink | 1006
sensor.eu08l_hp1_energy_source_inlet_temperature | EU08L HP1 Energy Source Inlet Temperature | hp1_energy_source_inlet_temperature | EU08L HP1 Energy Source Inlet Temperature | 1007
sensor.eu08l_hp1_energy_source_outlet_temperature | EU08L HP1 Energy Source Outlet Temperature | hp1_energy_source_outlet_temperature | EU08L HP1 Energy Source Outlet Temperature | 1008
sensor.eu08l_hp1_volume_flow_energy_source | EU08L HP1 Volume Flow Energy Source | hp1_volume_flow_energy_source | EU08L HP1 Volume Flow Energy Source | 1009
sensor.eu08l_hp1_compressor_unit_rating | EU08L HP1 Compressor Unit Rating | hp1_compressor_unit_rating | EU08L HP1 Compressor Unit Rating | 1010
sensor.eu08l_hp1_actual_heating_capacity | EU08L HP1 Actual Heating Capacity | hp1_actual_heating_capacity | EU08L HP1 Actual Heating Capacity | 1011
sensor.eu08l_hp1_inverter_power_consumption | EU08L HP1 Inverter Power Consumption | hp1_inverter_power_consumption | EU08L HP1 Inverter Power Consumption | 1012
sensor.eu08l_hp1_cop | EU08L HP1 COP | hp1_cop | EU08L HP1 COP | 1013
sensor.eu08l_hp1_request_type | EU08L HP1 Request-Type | hp1_request_type | EU08L HP1 Request-Type | 1015
sensor.eu08l_hp1_requested_flow_line_temperature | EU08L HP1 Requested Flow Line Temperature | hp1_requested_flow_line_temperature | EU08L HP1 Requested Flow Line Temperature | 1016
sensor.eu08l_hp1_requested_return_line_temperature | EU08L HP1 Requested Return Line Temperature | hp1_requested_return_line_temperature | EU08L HP1 Requested Return Line Temperature | 1017
sensor.eu08l_hp1_requested_flow_to_return_line_temperature_difference | EU08L HP1 Requested Flow to Return Line Temperature Difference | hp1_requested_flow_to_return_line_temperature_difference | EU08L HP1 Requested Flow to Return Line Temperature Difference | 1018
sensor.eu08l_hp1_relais_state_2nd_heating_stage | EU08L HP1 Relais State 2nd Heating Stage | hp1_relais_state_2nd_heating_stage | EU08L HP1 Relais State 2nd Heating Stage | 1019
sensor.eu08l_hp1_compressor_power_consumption_accumulated | EU08L HP1 Compressor Power Consumption Accumulated | hp1_compressor_power_consumption_accumulated | EU08L HP1 Compressor Power Consumption Accumulated | 1020
sensor.eu08l_hp1_compressor_thermal_energy_output_accumulated | EU08L HP1 Compressor Thermal Energy Output Accumulated | hp1_compressor_thermal_energy_output_accumulated | EU08L HP1 Compressor Thermal Energy Output Accumulated | 1022
sensor.eu08l_boil1_error_number | EU08L Boil1 Error Number | boil1_error_number | EU08L Boil1 Error Number | 2000
sensor.eu08l_boil1_operating_state | EU08L Boil1 Operating State | boil1_operating_state | EU08L Boil1 Operating State | 2001
sensor.eu08l_boil1_actual_high_temperature | EU08L Boil1 Actual High Temperature | boil1_actual_high_temperature | EU08L Boil1 Actual High Temperature | 2002
sensor.eu08l_boil1_actual_low_temperature | EU08L Boil1 Actual Low Temperature | boil1_actual_low_temperature | EU08L Boil1 Actual Low Temperature | 2003
sensor.eu08l_boil1_target_high_temperature | EU08L Boil1 Target High Temperature | boil1_target_high_temperature | EU08L Boil1 Target High Temperature | 2050
sensor.eu08l_hc1_error_number | EU08L HC1 Heating Circuit Error Number | hc1_error_number | EU08L HC1 Heating Circuit Error Number | 5000
sensor.eu08l_hc1_operating_state | EU08L HC1 Heating Circuit Operating State | hc1_operating_state | EU08L HC1 Heating Circuit Operating State | 5001
sensor.eu08l_hc1_flow_line_temperature | EU08L HC1 Flow Line Temperature | hc1_flow_line_temperature | EU08L HC1 Flow Line Temperature | 5002
sensor.eu08l_hc1_return_line_temperature | EU08L HC1 Return Line Temperature | hc1_return_line_temperature | EU08L HC1 Return Line Temperature | 5003
sensor.eu08l_hc1_room_device_temperature | EU08L HC1 Room Device Temperature | hc1_room_device_temperature | EU08L HC1 Room Device Temperature | 5004
sensor.eu08l_hc1_set_flow_line_temperature | EU08L HC1 Set Flow Line Temperature | hc1_set_flow_line_temperature | EU08L HC1 Set Flow Line Temperature | 5005
sensor.eu08l_hc1_operating_mode | EU08L HC1 Operating Mode | hc1_operating_mode | EU08L HC1 Operating Mode | 5006
sensor.eu08l_hc1_set_flow_line_offset_temperature | EU08L HC1 Set Flow Line Offset Temperature | hc1_set_flow_line_offset_temperature | EU08L HC1 Set Flow Line Offset Temperature | 5050
sensor.eu08l_hc1_target_room_temperature | EU08L HC1 Target Room Temperature | hc1_target_room_temperature | EU08L HC1 Target Room Temperature | 5051
sensor.eu08l_hc1_set_cooling_mode_room_temperature | EU08L HC1 Set Cooling Mode Room Temperature | hc1_set_cooling_mode_room_temperature | EU08L HC1 Set Cooling Mode Room Temperature | 5052
climate.eu08l_boil1_climate | EU08L Boil1 | eu08l_boil1_climate | EU08L Boil1 | 2050
climate.eu08l_hc1_climate | EU08L HC 1 | eu08l_hc1_climate | EU08L HC 1 | 5051